# Fume Hood Safety

The Golden Rules…

|  | Make sure the hood is ON and working. Verify the air flow reading. |  |
| --- | --- | --- |
| Keep the sash closed except when performing work. |  |  |
|  | Work 6 to 8 inches inside the plane of the sash. |  |
| Do not block the airflow through the baffles or through the baffle exhaust slots. |  |  |
|  | Raise equipment up off the hood deck (Do NOT use wood). |  |
| Remove unnecessary items. Don’t use the hood for storage. |  |  |
|  | Wear proper personal protective equipment (PPE) and move arms slowly in and out of the hood. |  |
| Never place your head inside of the fume hood. |  |  |
|  | ALWAYS CLEAN UP AFTER YOU ARE DONE IN THE HOOD! |  |
| UND Office of Safety 701.777.3341 UND.safety@UND.edu |  |  |