Research Laboratory Close-out Checklist

Laboratories within the University of North Dakota must be left in a state suitable for new occupants or for renovation activities. The vacating Principal Investigator (PI) and Department are responsible for ensuring the cleaning and disinfection of equipment and counters, movement of equipment from the lab as surplus, repair, or relocation, and disposal of chemical, biological, and radioactive waste materials prior to vacating the space. Upon completion this checklist must be emailed to und.safety@email.und.edu.

| Building: Click or tap here to enter text. |  | Room(s) #: Click or tap here to enter text. |  |
| --- | --- | --- | --- |
| Principal Investigator: Click or tap here to enter text. |  | Department: Click or tap here to enter text. |  |
| Lab Manager: Click or tap here to enter text. | Title: Click or tap here to enter text. |  | Date: Click to enter |

| TASK | COMPLETED | DATE COMPLETED |
| --- | --- | --- |
| SHARED STORAGE AREAS |  |  |
| Check all shared storage areas for hazardous materials and remove them. | ☐ YES ☐ NO ☐ N/A | Click here |
| LABORATORY SPACE |  |  |
| Clean and decontaminate all laboratory surfaces, including the insides of cabinets and drawers and all levels of shelving. | ☐ YES ☐ NO | Click here |
| Clean and decontaminate refrigerators/freezers. | ☐ YES ☐ NO ☐ N/A | Click here |
| Clean and decontaminate incubators, ovens, centrifuges and all other equipment. | ☐ YES ☐ NO ☐ N/A | Click here |
| Clean and/or decontaminate equipment to be left in place. | ☐ YES ☐ NO ☐ N/A | Click here |
| CHEMICALS |  |  |
| Evaluate all chemicals and label all containers. | ☐ YES ☐ NO | Click here |
| Beakers, flasks, etc. should be empty and clean | ☐ YES ☐ NO | Click here |
| Sample vials packaged together | ☐ YES ☐ NO ☐ N/A | Click here |
| Chemically contaminated labware is disposed of | ☐ YES ☐ NO ☐ N/A | Click here |
| Unknowns have been identified | ☐ YES ☐ NO ☐ N/A | Click here |
| Offer usable materials for redistribution | ☐ YES ☐ NO ☐ N/A | Click here |
| Submit chemical waste form for removal by the Office of Safety | ☐ YES ☐ NO ☐ N/A | Click here |
| Confirm hazardous waste has been removed. | ☐ YES ☐ NO | Click here |
| Transfer responsibility for remaining chemicals to: | ☐ YES ☐ NO | Click here |
| CONTROLLED SUBSTANCES |  |  |
| Initiate controlled substance disposal – These cannot be transferred | ☐ YES ☐ NO ☐ N/A | Click here |
| Contact U.S. Drug Enforcement Agency regarding permit status. | ☐ YES ☐ NO ☐ N/A | Click here |
| GAS CYLINDERS |  |  |
| Transfer to another user if possible. | ☐ YES ☐ NO ☐ N/A | Click here |
| If unable to be used, return to supplier. (For non-returnable cylinders, contact the Office of Safety for disposal). | ☐ YES ☐ NO ☐ N/A | Click here |
| ANIMAL AND HUMAN TISSUE |  |  |
| Dispose of tissue. Method: | ☐ YES ☐ NO ☐ N/A | Click here |
| Dispose of preservative. Method: | ☐ YES ☐ NO ☐ N/A | Click here |
| Transfer responsibility to: | ☐ YES ☐ NO ☐ N/A | Click here |
| Provide status update to UND IBC | ☐ YES ☐ NO ☐ N/A | Click here |
| MICROORGANISMS / CULTURES / DNA |  |  |
| Dispose of biohazardous waste appropriately. | ☐ YES ☐ NO ☐ N/A | Click here |
| Decontaminate equipment used for biohazardous work | ☐ YES ☐ NO ☐ N/A | Click here |
| Contact the Office of Safety to initiate gas decontamination of the Biosafety Cabinet | ☐ YES ☐ NO ☐ N/A | Click here |
| Toxins of Biological Origin Method of disposal: | ☐ YES ☐ NO ☐ N/A | Click here |
| Transfer responsibility to: | ☐ YES ☐ NO ☐ N/A | Click here |
| Provide status update to UND IBC | ☐ YES ☐ NO ☐ N/A | Click here |
| LIVE ANIMALS |  |  |
| Contact IACUC and the UND Attending Veterinarian | ☐ YES ☐ NO ☐ N/A | Click here |
| RADIOACTIVE MATERIALS |  |  |
| Package all radioactive materials for disposal and arrange pickup. | ☐ YES ☐ NO ☐ N/A | Click here |
| Contact RSO to transfer responsibility of remaining stock vials | ☐ YES ☐ NO ☐ N/A | Click here |
| Perform a contamination survey, and re-survey, if necessary. | ☐ YES ☐ NO ☐ N/A | Click here |
| Schedule closeout survey by RSO. Date of survey: | ☐ YES ☐ NO ☐ N/A | Click here |
| EQUIPMENT |  |  |
| Clean and/or decontaminate | ☐ YES ☐ NO ☐ N/A | Click here |
| Submit appropriate documentation to surplus or transfer ownership | ☐ YES ☐ NO ☐ N/A | Click here |
| MIXED HAZARDS |  |  |
| Identify and dispose of mixed hazards appropriately. Call the Office of Safety with questions. | ☐ YES ☐ NO ☐ N/A | Click here |
| CLOSE-OUT INSPECTION |  |  |
| Contact the Office of Safety to schedule the close-out inspection. | ☐ YES ☐ NO | Click here |

| RESOURCES |  |
| --- | --- |
| Office of Safety Website | https://campus.und.edu/safety/public-safety/index.html |
| Surplus Property | https://campus.und.edu/facilities-management/surplus-property.html |
| Institutional Biosafety Committee (IBC) | https://und.edu/research/resources/committees/institutional-biosafety-committee.html |
| Institutional Animal Care and Use Committee (IACUC) | https://und.edu/research/resources/committees/iacuc.html |
| Institutional Review Board | https://und.edu/research/resources/human-subjects/index.html |
| Equipment Transfer | https://campus.und.edu/finance/procurement-and-payment-services/asset-mgmt/index.html |