Research Laboratory Move-In Checklist

Prior to initiating work on research protocols this checklist must be completed to ensure that new research laboratories are set up properly, safety training has been completed, and research personnel have completed the orientation necessary to safely handle hazardous materials. Upon completion this checklist must be emailed to und.safety@email.und.edu.

| Building: Click or tap here to enter text. |  | Room(s) #: Click or tap here to enter text. |  |
| --- | --- | --- | --- |
| Principal Investigator: Click or tap here to enter text. |  | Department: Click or tap here to enter text. |  |
| Lab Manager: Click or tap here to enter text. | Title: Click or tap here to enter text. |  | Date: Click to enter |

| TASK | COMPLETED | DATE COMPLETED |
| --- | --- | --- |
| RESEARCH |  |  |
| All research projects utilizing recombinant or synthetic DNA, infectious agents, biologically derived infectious materials, or biologically active agents (i.e. toxins, allergens, venoms) are registered with the UND Institutional Biosafety Committee (IBC) | ☐ YES ☐ NO ☐ N/A | Click here |
| All human materials have been registered with the UND Institutional Review Board (IRB). (except cell lines from exempt vendors). | ☐ YES ☐ NO ☐ N/A | Click here |
| All animal protocols are registered with UND Institutional Animal Care and Use Committee (IACUC). | ☐ YES ☐ NO ☐ N/A | Click here |
| All research projects involving the use of radioactive materials or ionizing radiation (e.g. x-rays, gamma irradiator, etc.) have been registered with the UND Radiation Safety Committee. | ☐ YES ☐ NO ☐ N/A | Click here |
| The Lab & Research Safety Officer for the institution must be notified of all quantities (including exempt quantities) of Select Agent Toxins. (i.e. Tetrodotoxins, Botulinum neurotoxins) as well as the quantity of each. (kristie.adams@und.edu) | ☐ YES ☐ NO ☐ N/A | Click here |
| TRAINING |  |  |
| New hires have attended HR orientation for your school / department / division / faculty. | ☐ YES ☐ NO | Click here |
| All staff members, including PI, have completed General Laboratory Safety and Hazard Communication: Right to Understand training | ☐ YES ☐ NO | Click here |
| All staff members, including PI, working with biological materials have completed Principles of Biosafety and Bloodborne Pathogen training. | ☐ YES ☐ NO ☐ N/A | Click here |
| All staff members, including PI, working with radioactive materials, x-rays or lasers, have completed Radiation Safety training. | ☐ YES ☐ NO ☐ N/A | Click here |
| All staff members responsible for shipping infectious substances or dry ice have completed Transporting Dangerous Goods and Hazardous Materials training. | ☐ YES ☐ NO ☐ N/A | Click here |
| All personnel participating in animal research have completed the Animal Biosafety & Occupational Health training. The Research Team has completed the training mandated by the IACUC. | ☐ YES ☐ NO ☐ N/A | Click here |
| All Principal Investigators and staff members that handle DEA controlled substances must complete Handling Controlled Substances in Research training. | ☐ YES ☐ NO ☐ N/A | Click here |
| MANUALS & PLANS (Must be located and reviewed by all personnel) |  |  |
| UND Lab Risk Assessment Tool is completed by PI | ☐ YES ☐ NO | Click here |
| UND Lab Specific Safety Manual available | ☐ YES ☐ NO | Click here |
| UND Chemical Hygiene Plan is available | ☐ YES ☐ NO | Click here |
| UND Emergency Response Plan is available | ☐ YES ☐ NO | Click here |
| UND Exposure Control Plan is available (if applicable) | ☐ YES ☐ NO | Click here |
| OCCUPATIONAL HEALTH |  |  |
| Complete the Occupational Exposure to Bloodborne Pathogens or Hepatitis B vaccine (acceptance/declination) form at Occupational Health. Keep records of vaccination offer with Exposure Control Plan. | ☐ YES ☐ NO ☐ N/A | Click here |
| All staff members entering animal facilities must complete the Initial Health Questionnaire and submit it to Occupational Health for review | ☐ YES ☐ NO ☐ N/A | Click here |
| All staff members required to wear a respirator (N95, half-face, full-face or PAPR) must complete the Medical Evaluation Questionnaire for Respirator Users and submit it to Occupational Health for review and approval prior to wearing a respirator. | ☐ YES ☐ NO ☐ N/A | Click here |
| SAFETY EQUIPMENT |  |  |
| A laboratory hazard assessment placard must be completed and posted at the entrance door(s) to the lab(s) identifying hazards, PPE, and contact information. The placard can be found on the Office of Safety website. | ☐ YES ☐ NO | Click here |
| The lab has the correct and adequate Personal Protective Equipment (PPE) in the lab. (i.e., gloves, safety glasses and/or goggles, lab coats or disposable gowns, UV protective face shield, N95 respirator, etc.) | ☐ YES ☐ NO | Click here |
| Personnel required to wear a tight-fitting respirator (e.g. N95) must be fit tested by the Office of Safety. Email und.safety@email.und.edu to schedule fit testing. | ☐ YES ☐ NO ☐ N/A | Click here |
| All PPE (e.g., lab coat and gloves) must be removed before entering non-research areas (i.e. offices, bathrooms) | ☐ YES ☐ NO | Click here |
| Each eyewash station or drench hose in each lab must be inspected, flushed and documented weekly. | ☐ YES ☐ NO | Click here |
| All staff members have received orientation to the location of the nearest emergency eyewash station, safety shower, fire extinguisher, fire alarm pull station and the area of refuge where personnel will congregate in the event of a fire alarm or other emergency in the building. | ☐ YES ☐ NO | Click here |
| The safety shower is inspected annually. Documentation is kept by the Office of Safety. | ☐ YES ☐ NO | Click here |
| Centrifuges are equipped with safety cups or sealed rotors with O-rings to contain accidental spills or the potential release of infectious aerosols. | ☐ YES ☐ NO ☐ N/A | Click here |
| The fume hood been inspected within the last 18 months | ☐ YES ☐ NO ☐ N/A | Click here |
| Biological safety Cabinets (BSC) have been certified within the last 12 months | ☐ YES ☐ NO ☐ N/A | Click here |
| An appropriate disinfecting agent (e.g., bleach or hydrogen peroxide-based solution) is available to clean the work surface and grill inside the BSC | ☐ YES ☐ NO ☐ N/A | Click here |
| CHEMICALS |  |  |
| A chemical inventory for materials in the lab has been created and emailed to und.safety@email.und.edu or entered into Jaggaer COMS. (Up-to-date chemical inventory must be maintained.) | ☐ YES ☐ NO ☐ N/A | Click here |
| Safety Data Sheets (SDS) for all hazardous chemicals handled in the lab are available on a community computer or in a binder that is accessible to staff members. The UND Vector SDS online internet database can be used to access SDS for the materials in your lab. | ☐ YES ☐ NO ☐ N/A | Click here |
| All containers (including water) must be labeled to identify their contents. Containers of hazardous chemical must be labeled to identify both the contents and the hazards. | ☐ YES ☐ NO ☐ N/A | Click here |
| All chemical containers must be closed when not actively in use. | ☐ YES ☐ NO ☐ N/A | Click here |
| Chemical containers must be properly segregated to separate incompatible materials (i.e. acids from bases, oxidizers from flammables, inorganic acids from organic acids, etc.) | ☐ YES ☐ NO ☐ N/A | Click here |
| Flammable liquid materials stored outside of a flammable liquid storage cabinet must be limited to materials that are “in use.” | ☐ YES ☐ NO ☐ N/A | Click here |
| No more than 10 gallons of flammable liquid chemicals are permitted from being stored outside an NFPA approved cabinet. | ☐ YES ☐ NO ☐ N/A | Click here |
| Flammable materials can ONLY be stored in an NFPA rated refrigerator or freezer. | ☐ YES ☐ NO ☐ N/A | Click here |
| Organic peroxide-forming chemicals (e.g. diethyl ether, THF, 1,4-dioxane, etc.) must be labeled with a received and opened date. Peroxide test strips must be available to periodically test the peroxide concentration in containers of these compounds. Containers with >30ppm of organic peroxides must immediately be discarded as hazardous waste. | ☐ YES ☐ NO ☐ N/A | Click here |
| No chemical storage on floors, in biosafety cabinets, or fume hoods. | ☐ YES ☐ NO ☐ N/A | Click here |
| CONTROLLED SUBSTANCES |  |  |
| PI must have a current DEA Registration license to purchase and handle all controlled substances. | ☐ YES ☐ NO ☐ N/A | Click here |
| All controlled substances must be properly secured and stored when not actively being used. | ☐ YES ☐ NO ☐ N/A | Click here |
| Access to controlled substances is limited to only Authorized Users. | ☐ YES ☐ NO ☐ N/A | Click here |
| All Authorized Users must be properly trained in handling, documentation, and how to report lost, stolen or missing controlled substances. | ☐ YES ☐ NO ☐ N/A | Click here |
| An inventory of all controlled substances must be kept as well as a usage form for each container. A documented audit of this inventory must be performed at least every 2 years. | ☐ YES ☐ NO ☐ N/A | Click here |
| All expired controlled substances must be properly disposed of by contacting und.safety@email.und.edu. An accompanying DEA Form 41 must be completed for this disposal and the documentation is retained with the DEA registrant’s records. | ☐ YES ☐ NO ☐ N/A | Click here |
| SELECT AGENT TOXINS |  |  |
| All Select Agent Toxins must be properly secured when not in active use. | ☐ YES ☐ NO ☐ N/A | Click here |
| Labs that store Select Agent Toxins must keep the lab door locked when the lab is unoccupied. | ☐ YES ☐ NO ☐ N/A | Click here |
| An inventory and usage log must be kept for each container of material. | ☐ YES ☐ NO ☐ N/A | Click here |
| All unwanted Select Agent Toxins must be deactivated prior to disposal. | ☐ YES ☐ NO ☐ N/A | Click here |
| COMPRESSED GASES |  |  |
| Each cylinder must be stored upright and secured to the wall or bench counter with a chain or a strap. | ☐ YES ☐ NO ☐ N/A | Click here |
| Cylinder caps must be placed and secured onto the cylinder when the regulator is not attached. | ☐ YES ☐ NO ☐ N/A | Click here |
| CHEMICAL WASTE |  |  |
| All chemical waste must be stored in a container that is in good condition and compatible with the contents to be stored within it. | ☐ YES ☐ NO ☐ N/A | Click here |
| All chemical waste containers must be kept closed when not actively being filled with waste. | ☐ YES ☐ NO ☐ N/A | Click here |
| All chemical waste containers must be labeled as “hazardous waste” and their contents listed. | ☐ YES ☐ NO ☐ N/A | Click here |
| BIOHAZARDOUS WASTE |  |  |
| Liquid biohazardous waste must be chemically disinfected (e.g. 10% bleach solution) for an appropriate time period, disposed of down the drain, and rinsed with a suitable quantity of water. | ☐ YES ☐ NO ☐ N/A | Click here |
| All biohazardous solid waste must be collected in a red or orange bag labeled with the biohazard symbol. Biohazard bags are available for purchase online through Jaggaer. | ☐ YES ☐ NO ☐ N/A | Click here |
| Biohazard bags containing solid waste must be placed in the waste pick-up point designated for each lab. Contact your Lab Manager or the Lab & Research Safety Officer (kristie.adams@und.edu) for the location of the pick-up point nearest to you. (BSL2 solid waste does not have to be autoclaved prior to being disposed of into the Stericycle shipment box.) | ☐ YES ☐ NO ☐ N/A | Click here |
| All biohazardous waste containers must be closed when not actively collecting waste. A nonporous container must be used for easy decontamination. | ☐ YES ☐ NO ☐ N/A | Click here |
| All sharps containers must be made of leak proof and puncture resistant material and must be covered when not actively adding material to container. | ☐ YES ☐ NO ☐ N/A | Click here |
| Reuseable labware must be decontaminated prior to washing. | ☐ YES ☐ NO ☐ N/A | Click here |
| Biohazard waste containers must be labeled with the biohazard symbol on the front and on the lid. | ☐ YES ☐ NO ☐ N/A | Click here |
| RADIATION |  |  |
| The North Dakota Regulation for Radiation Notice signage “Notice to Employees” and “Pregnant Workers” sheet must be posted in labs storing and handling radioactive materials. | ☐ YES ☐ NO ☐ N/A | Click here |
| A Geiger counter (which Radiation Safety will calibrate every 12 months) must be on hand if P32 or I125 radioactive isotopes are in the lab. | ☐ YES ☐ NO ☐ N/A | Click here |
| Equipment and areas used to store and handle radioactive material, including waste, must have a radioactive label affixed. Lab doors must have a radioactive door placard affixed. | ☐ YES ☐ NO ☐ N/A | Click here |
| GENERAL SAFETY |  |  |
| No food or drinks may be stored or consumed inside the lab. Lab staff should be informed where they may take breaks involving food or drink. | ☐ YES ☐ NO | Click here |
| All staff must wear closed-toed shoes while in the lab. | ☐ YES ☐ NO | Click here |
| All staff must wear long pants or dress that provide body coverage to at least below the knee. | ☐ YES ☐ NO | Click here |
| Hair longer than shoulder length must be tied back. | ☐ YES ☐ NO | Click here |
| Each lab should have available a small first-aid kit for minor incidents. | ☐ YES ☐ NO | Click here |
| The lab should be free of clutter and organized. | ☐ YES ☐ NO | Click here |
| Aisles in the lab must be unobstructed at least 36” wide. | ☐ YES ☐ NO | Click here |
| Minimize the storage of items above eye level, especially chemicals. | ☐ YES ☐ NO | Click here |
| No cloth chairs are present in the lab space. | ☐ YES ☐ NO | Click here |
| Needles and razor blades must be properly stored to prevent accidental punctures and cuts. | ☐ YES ☐ NO | Click here |
| Aspiration flasks on the floor must be stored in secondary containment. | ☐ YES ☐ NO | Click here |
| Work surfaces must be kept clean and disinfected. | ☐ YES ☐ NO | Click here |
| All refrigerators, freezers, microwaves located in each lab must have a “NO Food or Drink” label affixed. | ☐ YES ☐ NO | Click here |
| All ice machines must be labeled “Ice Not for Human Consumption”. | ☐ YES ☐ NO | Click here |
| Electrical panels or breaker panels must not be obstructed. At least 36” of unobstructed space must be provided in front of the panel. | ☐ YES ☐ NO | Click here |
| All equipment power cords are in good operating condition. | ☐ YES ☐ NO | Click here |
| Any power strips in use are UL approved and not used above approved rating – extension cord use shall be kept to a minimum and never used as permanent wiring. | ☐ YES ☐ NO | Click here |

| RESOURCES |  |
| --- | --- |
| Office of Safety Website | https://campus.und.edu/safety/public-safety/index.html |
| Vector SDS | https://und-nd.newlook.safeschoolssds.com/ |
| Institutional Biosafety Committee (IBC) | https://und.edu/research/resources/committees/institutional-biosafety-committee.html |
| Institutional Animal Care and Use Committee (IACUC) | https://und.edu/research/resources/committees/iacuc.html |
| Institutional Review Board | https://und.edu/research/resources/human-subjects/index.html |
| Vector Solutions (Training) | http://und.nd.safecolleges.com/training/home |